# QUESTIONNAIRE №

to order №                 from                               on the transformer

type      			               according to TU

| Agreeable parameters |  | Magnitude |
| --- | --- | --- |
| 1. Rated transformer power, kVA |  |  |
|  | ВН |  |
| 2. Winding voltages at idle. run, V Winding power, kVA | СН |  |
|  | НН |  |
| 3. Number of phases |  |  |
| 4. Frequency, Hz |  |  |
| 5. Scheme and connection group |  |  |
| 6. Cooling type |  |  |
| 7. Indoor or outdoor installation |  |  |
| 8. Presence of protective casing and degree of protection |  |  |
| 9. Presence of winding branches and their parameters (voltage, power) |  |  |
| 10. Test voltage level for each winding, kV (to be filled in as needed) |  |  |
| 11. Short circuit voltage, % |  |  |
| 12. Features of the installation, if they there is |  |  |
| 13. Deviation from nominal conditions, if any (temperature, humidity, installation altitude, environment, etc.) |  |  |
| 14. The need for special tests |  |  |
| 15. Dimensions*: - length, mm - width, mm - height, mm - weight, kg |  |  |
| 16. Additional customer requirements |  |  |

* - for information

Manufacturer                                                           Customer